Tamil Nadu Open University

School of Continuing Education

jkpo;ehL jpwe;jepiyg; gy;fiyf;fofk;

njhlh; fy;tpf;fhdg; gs;;sp

Programme Project Report (PPR)

Vocational Diploma in Refrigeration and AC Technician (VDRA)

Members of the Board of Studies [BOS] 
of School of Continuing Education

| S.No. | Name | Designation |
| --- | --- | --- |
| 1 | Dr. P. Thiyagarajan | Professor & Director School of Continuing Education Tamil Nadu Open University, Chennai |
| 2 | Dr. K. Devan | Professor & Centre Head Centre for Adult and Continuing Education, Pondicherry University, R.V. Nagar, Puducherry |
| 3 | Dr. V.P. Matheswaran | Professor & Head Department of Adult & Continuing Education, University of Madras, Chepauk, Chennai |
| 4 | Dr. S. Jayalakshmi | Assistant Professor DDU-KAUSHAL Kendra, Bharathidasan University, Tiruchirappalli |
| 5 | Mr.S.Vendan | Managing Director Vendan Visual Effects, Thirvanmiyur, Chennai |
| 6 | Ms.C.Rohini Chandrasekaran | Consultant Fair Labour Associations, Tirupur, Tamil Nadu |
| 7 | Mr. R. Thiyagarajan | Junior Instructor IIDA Community College, No.38,Bharathi Nagar Main Road, Zamin Pallavaram, Chennai |
| 8 | Mrs. V. Rubini | Nurse, Health Centre Tamil Nadu Open University, Chennai |
| 9 | Er. R. Meenambigai | Assistant Professor School of Continuing Education Tamil Nadu Open University, Chennai |
| 10 | Dr. I. Ambeth | Assistant Professor & Regional Director i/c Madurai Regional Centre, Tamil Nadu Open University, Madurai |

Tamil Nadu Open University

School of Continuing Education

Vocational Diploma in Refrigeration and AC Technician (VDRA) Programme Project Report (PPR)

(a). Programme’s Mission & Objectives:  The main Objectives of the Vocational Diploma in Refrigeration and Air-Conditioning (AC) Technician Programme is to train the learners for the job of a AC Mechanic, AC & Refrigerator maintenance mechanic, AC Servicing technician, Commercial coolers service mechanic and also building the key competencies amongst the learner.

(b).Relevance of the Programme with HEI’s Mission and Goals : Tamil Nadu Open University one of Mission and Goal is to encourage Skill Development to empower the human resource through Participatory Education System and accordingly the Vocational Diploma Programme has been developed. The Programme is being offered under flexible skill training mode.

(c). Nature of prospective target group of learners: Candidates  who wish to seek employment in the RAC industry particularly the young boys, slum dwellers, unskilled workers employed in the mechanic field, rural dwellers, unemployed youths and minorities.

(d). Appropriateness of programme to be conducted in Open and Distance Learning mode to acquire specific skills and Competence:  Apart from ODL Mode, the Programme also has been designed to offer under Flexible Skill Training mode. Refrigeration and AC Technician are to trouble shoot AC & Refrigerator, identify the problem and rectify the same, perform regular maintenance and servicing of AC. To acquire Specific Skill, the Core Skills, Generic Skills and Professional Skills component are also included.

(e). Instructional Design: The Curriculum and the Syllabi are designed by covering all the aspect of refrigeration and air-conditioning. The duration of the Programme is One Year and it will be offered both English and Tamil Medium. Required Faculties working in the Community Colleges will handle classes for the Vocational Diploma Programme in Refrigeration and AC Technician. The Programme will be delivered through Community Colleges of Tamil Nadu Open University which is having required faculties and support staff. The Credit System suggested by Distance Education Bureau i.e., 32 Credits for One Year Diploma has been assigned. Print, Audio and Video materials also will be developed for the Programme.

(f).Procedure for Admissions, Curriculum Transaction and Evaluation: The admission for the Refrigeration and AC Technician Programme will be carried out through on-line by Tamil Nadu Open University and the Counselling and Practical classes will be conducted through Constituent Community College and Community Colleges of Tamil Nadu Open University. The hands on training will be provided in the Industries and mobile Lab. The evaluation will be carried by Tamil Nadu Open University consists of Continuous Internal Assessment through Spot Assignment and External Assessment through Term End Examination.

(i).Eligibility: Candidates who have passed in the 10th Standard Examinations or its equivalent as per Tamil Nadu Government Order No-163 dated 22-05-2008.

(ii).Fee Structure: Rs.4,200/- (plus Registration of Charges).

(g) Requirement of the laboratory support and Library Resources: Lab Facilities are made available in Constituent Community Colleges and Community Colleges of Tamil Nadu Open University as per requirement as given in the National Skill Development Corporation(NSDC), Qualification Pack(QP). Practical Manual developed by the Tamil Nadu Open University will be supplied to the Students apart from Self Learning Materials. Library Books are available at the Headquarters, Regional Centres and Constituent Community Colleges and Community Colleges of Tamil Nadu Open University.

(i). Quality Assurance Mechanism and Expected Programme Outcomes: Tamil Nadu Open University through its Centre for Internal Quality Assurance (CIQA) will monitor the delivering aspect of Constituent Community Colleges and community Colleges of TNOU for maintaining quality. Feedback will be collected from the Learners and success story if any will also be shared with learners. After completion of Refrigeration and AC Technician Programme, Learner will acquire the Core Skills, Generic Skills and Professional Skills components and will be employed in the automobile Industry.

Proposed Programme Structure of Vocational Diploma in Refrigeration & AC Technician

| S.No | Course Code | Course Title | Credits | Marks Distribution |
| --- | --- | --- | --- | --- |
|  |  |  |  | Internal | External | Total |
| 1 | VDRA-1 | Refrigerator and Refrigeration | 4 | 30 | 70 | 100 |
| 2 | VDRA -2 | Air Conditioner and Air Conditioning | 4 | 30 | 70 | 100 |
| 3 | VDRA -3 | Special Cooling Systems | 4 | 30 | 70 | 100 |
| 4 | VDRA -P1 | Refrigerator Servicing (Practical) | 4 | 30 | 70 | 100 |
| 5 | VDRA -P2 | AC Servicing (Practical) | 4 | 30 | 70 | 100 |
| 6 | LCS | Life Coping Skills | 6 | 30 | 70 | 100 |
| 7 | CNS | Communication Skills | 6 | 30 | 70 | 100 |
| Total | 32 | 210 | 490 | 700 |

Age: 15 years and above

Duration of Programme: 1 year and maximum of 3 years

Credits: Credits in Open and Distance Learning (ODL) is nothing but study hours. The following are explanation for Credit in ODL System.

- One Credit would mean equivalent of 30 hours of study.

- Learners are expected to allot 24 hours for reading the Self Learning Materials supplied by the University, 3 hours for viewing the video and listening to audio and 3 hours for writing assignments to complete one credit in ODL.

Examination System: Examination to Vocational Diploma Programme in Refrigeration and AC Technician is designed to maintain quality of standard. Theory will be conducted by the University in the identified Examination Centres.  For the Spot Assignment students may be permitted to write with the help of books/materials for each Course, which will be evaluated by the Evaluators appointed by the University.

Assignment (Internal): Assignment carries 30 marks, consists of descriptive type of questions for each Course (3  X 10 = 30 Marks). Learners are expected to write 10-15 pages for each assignment. Submission of Assignment is compulsory.

Theory Examination (External): Students shall normally be allowed to appear for Theory Examination by completing Practical and Assignment. The Term-End Examination shall carry Section- A, Section- B and Section- C

| Section-A | Three out of Five Short Answer Questions [Each 3- Marks] | 3 X 3 = 9 Marks |
| --- | --- | --- |
| Section-B | Three out of Five Long Answer Questions [Each 7- Marks] | 3 X 7 = 21 Marks |
| Section-C | Four out of Seven Essay questions of which one will be Multiple Choice Question [Each 10-marks] | 4 X 10 = 40 Marks |
| Total | 70 Marks |

Passing Minimum: The passing minimum is 35 percent in the internal and external/ theory examination and overall 40 per cent for successful completion of each course.

Classification of Successful Candidate: Candidates who pass all the Courses and who secure 60 per cent and above in the aggregate of marks will be placed in the First Class. Those securing 50 per cent and above but below 60 per cent in the aggregate will be placed in the Second Class. Those securing 40 per cent and above but below 50 per cent in the aggregate will be placed in the Third Class.

|  | Tamil Nadu Open University School of Continuing Education Chennai – 15 |
| --- | --- |

Name of the Programme– Vocational Diploma in Refrigeration & AC Technician - Syllabus (Flexible Skill Training Mode)

| Course Title | : | Refrigerator and Refrigeration |
| --- | --- | --- |
| Course Code | : | VDRA-1 |
| Course Credit | : | 4 |

Course Objectives

While studying the Refrigerator and Refrigeration, the student shall be able to:

- Explains the basics of refrigeration and the types of refrigeration

- Elaborates the major components of Refrigerator

- Describes the types of refrigerants used in refrigerator

- Elaborates about the maintenance and trouble shooting of refrigerator

- Enumerates the step by step procedure of repairing and servicing of refrigerator and its parts

Course Outcomes

After completion of the Course Refrigerator and Refrigeration, the student will be able to:

- Define the laws of Thermodynamics

- Elaborate the various refrigeration cycles and the process of refrigeration

- Identify and enumerate about the major parts of refrigerator namely compressor, evaporator, condenser etc.

- List the characteristics of an ideal refrigerant

- Demonstrate the procedure of care, maintenance, repair and servicing of various parts of refrigerator

Block-1: Basics of Refrigeration

Unit-1 – Fundamentals of Refrigeration

Introduction - Basic Terminology – Thermodynamics - Laws of Thermodynamics

Unit-2: Refrigeration Cycles

Process of Refrigeration - Methods of Producing Low Temperature - Air Cycle Refrigeration - Vapour Compression Cycle of Refrigeration - Vapour Absorption Cycle

Block-2: Major Components of Refrigerator

Unit -3: Components of Refrigeration System

Compressor – Condenser – Evaporator - Expansion Devices

Unit -4: Refrigerants

Introduction - Refrigerant Criteria - Designation of Refrigerants - Types of Refrigerants - Properties of Ideal Refrigerant

Block-3: Maintenance and Trouble-Shooting of Refrigerator

Unit -5: Care and Maintenance of Refrigerator

Basic Safety Precautions - External parts of a Refrigerator - Installation Process - Refrigerator with water and Ice Dispenser - Care of Refrigerator - Maintenance of Refrigerator - Maintenance of Freezer

Unit -6: Trouble-Shooting of Refrigerator

Technical Safety - Problems of Refrigerator - Trouble shooting the Refrigerator

Block-4: Testing and Servicing of Refrigerator

Unit -7: Basic Electrical Circuits of Automobile

Testing and Replacing of the Refrigerator Parts - Servicing of Refrigerator Parts

Unit -8: Refrigerant Charging and Leakage Tests

Charging of Refrigerant - Effects of Undercharging the Refrigerant Level in a refrigeration equipment - Refrigerant Leak Test

|  | Tamil Nadu Open University School of Continuing Education Chennai – 15 |
| --- | --- |

Name of the Programme– Vocational Diploma in Refrigeration and AC Technician - Syllabus (Flexible Skill Training Mode)

| Course Title | : | Air-Conditioner and Air-Conditioning |
| --- | --- | --- |
| Course Code | : | VDRA-2 |
| Course Credit | : | 4 |

Course Objectives

While studying the Air-Conditioner and Air-Conditioning, the student shall be able to:

- Describe the Principle of air-conditioning and the science behind air-conditioning

- Classify the air-conditioning systems and study the various components of the system

- Calculate the energy efficiency of the window and split air-conditioner

- Acquire knowledge about the tools used for copper tubing and installation of AC

- Demonstrate the duct work of AC, servicing and installation of units

Course Outcomes

After completion of the Course Air-Conditioner and Air-Conditioning, the student will be able to:

- State the need and application of air-conditioning

- Identify the major control systems of air-conditioner

- Perform Copper tubing operations including brazing

- Installation of widow and split ac, ducting work of central AC

- Perform installation, servicing and maintenance of air-conditioner

Block-1: Science of Air-Conditioning

Unit -1: Basics of Air-conditioning

Introduction - History of Air-Conditioning - Types of System - Need for Air-Conditioning -  Application of Air Conditioning - Principles of Air Conditioning

Unit -2: Air-Conditioning Systems

Introduction to Air-conditioning system - Classification of Air-conditioning system - Types of Coolers - Major system components - Major system controls

Block-2: Working of AC and Copper Tubing

Unit -3: Working of AC and Energy Efficiency

Types of Air-Conditioning unit - Energy Efficiency - Energy Labelling Standard for Air-Conditioner - Working of Window Air Conditioner (WAC) - Working of Split Air Conditioner (SAC)

Unit -4: Tubes, Equipments and Copper Tubing Operations

Hand Tools - Equipments and Devices - Copper Tubing - Copper Tubing Operations

Block-3: Installations and Ducting

Unit -5: Installation of Window and Split Air-Conditioner

General Safety for Installation - Installation of Window AC - Installation of Split AC - Post Installation Check-up

Unit: Duct Work

Types of Duct Work - Components of Duct Work - Balancing the System - Duct Liner - Duct Cleaning

Block-4: Servicing and Maintenance of Air-Conditioner

Unit -7: Servicing of Air-Conditioner

Basic servicing operations of Air-conditioner - Avoiding Contaminants - Good service Practices - General Guidelines for Good Service Practices - Recovery, Recycling and Reclamation of Refrigerants - Cleaning of Water cooled Condensers

Unit -8: Safety and Maintenance of Air-Conditioner

Safety and its Importance - Safety while working on Air-conditioners - First Aid for injuries to Technicians - Quality Maintenance of Tools and Equipments - Preventive Maintenance of Room Air-conditioners - Maintenance of Cooling Coil

|  | Tamil Nadu Open University School of Continuing Education Chennai – 15 |
| --- | --- |

Name of the Programme– Vocational Diploma in Refrigeration and AC Technician - Syllabus (Flexible Skill Training Mode)

| Course Title | : | Special Cooling Systems |
| --- | --- | --- |
| Course Code | : | VDRA-3 |
| Course Credit | : | 4 |

Course Objectives

While studying the Special Cooling Systems, the student shall be able to:

- Enumerate the types of special cooling system and the refrigerant used

- Describe about deep freezers, bottle coolers and display cabinets

- Explain about various refrigerated vehicles and cold storages used for food storage

- Theorize about ice cream freezers, fish freezers and white ice plant

Course Outcomes

After completion of the Course Special Cooling Systems, the student will be able to:

- List the various special cooling systems

- Demonstrate the maintenance of deep freezers

- Explain the working of white ice plant

- Detail the application of cold storage and its maintenance

Block-1: Types Of Special Cooling System and Deep Freezers

Unit -1 – Cooling Systems

Introduction - Special Cooling Systems - Refrigerant

Unit -2: Deep Freezers

History of Freezing - Types of Freezers - Basic Feerzerology - Application of Deep Freezer - Maintenance of Freezers

Block-2: Beverage Coolers and Display Cabinets

Unit -3: Bottle Coolers and Chillers

Bottle Coolers and its Types - Components of a Bottle Cooler - Rapid Chillers - Using Rapid Drink Chillers - Blast Chillers - Benefits and Disadvantages of Blast Chillers

Unit -4: Refrigerated Display Cabinets

Display Counters - Multi-deck Refrigerators - Chiller Doors - Care and Maintenance of a Refrigerated Cabinet

Block-3: Cold Storage and Refrigerated Vehicles

Unit -5: Cold Room and Cold Storage

Cold room and its types - Cold storage plant - Working of Cold Storage Plant - Applications of Cold Storage

Unit -6: Transport Refrigeration

Transport Refrigeration Systems - Types of Refrigerated Transport - Refrigerated Containers/ Reefer - Bus Air-Conditioning

Block-4: Consumable Products Freezer

Unit -7: Ice Cream and Fisheries Freezer

Types of Ice Cream Freezers - Freezing Ice Cream - Batch Freezers - Continuous Ice Cream Freezers - Operating the Continuous Freezers - Fisheries Freezers

Unit -8: White Ice Plant

White Ice and its Types - Requirements of Ice Plant - Working Principle - Applications of White Ice

|  | Tamil Nadu Open University School of Continuing Education Chennai – 15 |
| --- | --- |

Name of the Programme– Vocational Diploma in Refrigeration & AC Technician - Syllabus (Flexible Skill Training Mode)

| Course Title | : | Refrigerator Servicing(Practical) |
| --- | --- | --- |
| Course Code | : | VDRA-P1 |
| Course Credit | : | 4 |

This practical course deals with the following basic techniques:

- Tube cutting and bending

- Flaring, swagging

- Brazing

- Wire joining process

- Connecting load protector and thermostat

- Dismantling and assembling of different types of compressors

- Servicing of different types of compressors

- Servicing of the components of a refrigerator like condenser, receiver, evaporator, lubrication system

- Maintenance of all the components of a refrigerator like condenser, receiver, evaporator, lubrication system

- Servicing of water cooler, deep freezer, white ice plant

- Servicing of cold storage, beverage/ bottle cooler

|  | Tamil Nadu Open University School of Continuing Education Chennai – 15 |
| --- | --- |

Name of the Programme– Vocational Diploma in Refrigeration & AC Technician - Syllabus (Flexible Skill Training Mode)

| Course Title | : | AC Servicing(Practical) |
| --- | --- | --- |
| Course Code | : | VDRA-P2 |
| Course Credit | : | 4 |

This practical course deals with the following basic techniques:

- Servicing of all the components of a air conditioning like condenser, receiver; evaporator, lubrication system

- Maintenance of all the components of a air conditioning like condenser, receiver; evaporator, lubrication system

- Servicing of window air conditioning

- Servicing of split AC

- Servicing of central plant AC

- Servicing of Inverter AC

- Ducting – different types for central plant AC

|  | Tamil Nadu Open University School of Continuing Education Chennai – 15 |
| --- | --- |

Life Coping Skills (LCS) and Communication Skills (CNS)-Core Course for all Vocational Diploma Programmes

Life Coping Skills and Communication Skills have been included to help the students to understand the meaning of life and to understand the meaning of relationship and how we communicate in every day life.

Examination System: Examination to Life Coping Skills and Communication Skills are designed to maintain quality of standard. Theory will be conducted by the University in the identified Examination Centres.  For the Spot Assignment students may be permitted to write with the help of books/materials for each Course, which will be evaluated by the Evaluators appointed by the University.

Assignment (Internal): Assignment carries 30 marks, consists of descriptive type of questions for each Course (3 X 10 = 30 Marks). Learners are expected to write 10-15 pages for each assignment. Submission of Assignment is compulsory.

Theory Examination (External): Students shall normally be allowed to appear for Theory Examination by completing Practical and Assignment. The Term-End Examination shall carry Section- A, Section- B and Section- C

| Section-A | Three out of Five Short Answer Questions [Each 3- Marks] | 3 X 3 = 9 Marks |
| --- | --- | --- |
| Section-B | Three out of Five Long Answer Questions [Each 7- Marks] | 3 X 7 = 21 Marks |
| Section-C | Four out of Seven Essay questions of which one will be Multiple Choice Question [Each 10-marks] | 4 X 10 = 40 Marks |
| Total | 70 Marks |

Passing Minimum: The passing minimum is 35 percent in the internal and external/ theory examination taken together for successful completion of each course.

|  | Tamil Nadu Open University School of Continuing Education Chennai – 15 |
| --- | --- |

Name of the Course – Life Coping Skills - Syllabus (Flexible Skill Training Mode)

| Course Title | : | Life Coping Skills |
| --- | --- | --- |
| Course Code | : | LCS |
| Course Credit | : | 6 |

(1).Life Coping Skills : The main objectives of the Life Coping skills is to understand the meaning of life and its challenges, provide skills and knowledge needed to cope with life’s problems and challenges, develop a positive attitude, train to be successful and useful citizens through positive thinking, cope with criticism, failure, anger, loneliness, physical and verbal abuse, improve self-esteem, manage time and stress, develop  one’s personality to its full potential, help the students to become team players, develop personal skills and to provide skill problems solving and decision making.

Block- 1-Self Skills

Unit-1: Self Skill – I

Meaning and Process of Coping- Restructuring the Life Story - External and Internal Influences in One's Life - Messages: Positive and Negative - Life Illustrations - Self Esteem - Self Concept - Self Acceptance - Self Actualisation- Personality Development

Unit-2: Self Skill – II

Positive Thinking - Goal Setting - Problem Solving - Decision Making

Block- 2: Social and Leadership Skills

Unit-3: Social Skills

Social Skills- Motivation- De-motivating Factor- Meaning and Attitude to Success- Time Management -The Management of Time is the Management of Life - How to gain an extra mile every day- Tips for Time Management - Stress Management

Unit-4: Leadership Skills

Emergence of a Leader -Characteristics of Leadership -Various kinds of Leaders -What should Leader do- The Moulding of a Leader - Characteristics of a Successful Leader- Team Work - What is it like work in a Team- What is Team Learning

Unit-5: Coping Skills – I

What is Shyness- How to Overcome Shyness- Tips to Overcome Shyness - Coping with Loneliness-Finding Ways to Change the Feelings of Loneliness-Overcoming Loneliness - Tips to Overcome Loneliness- Coping with Depression - Coping with Fear- Coping with Anger and Verbal Abuse -Verbal Abuse- Coping with Failure - Coping with Criticism

Unit-6: Coping Skills – II

Coping with HIV – AIDS- Coping with Alcoholism - Tobacco and Smoking - Coping with Substance Abuse

Block -4: Managerial and Entrepreneur Skills

Unit-7: Managerial Skills

Coping with Conflict- Conflict can be Constructive or Destructive- Constructive Nature of Conflicts- What are the Strategies for Managing Conflicts- Tactics of Conflict Management- Coping with Change- Twelve Steps to Implement Change

Unit-8: Entrepreneur Skills

Career Guidance - Career Planning- Preparation for Employment- Looking for Opportunities - Preparation for the Interview - Work Environment - Thriving in Today's Work Environment .

|  | Tamil Nadu Open University School of Continuing Education Chennai – 15 |
| --- | --- |

Name of the Course – Communication Skills - Syllabus (Flexible Skill Training Mode)

| Course Title | : | Communication Skills |
| --- | --- | --- |
| Course Code | : | CNS |
| Course Credit | : | 6 |

(2).Communication Skills: The main objectives of the Communication Skills is to introduce to the students the process and kinds of communication, train the students to code and decode communication effectively, explain the various interpersonal skills required to interact with others and make the students understand the meaning of relationship and how we communicate in every day life.

Block -1: Communication

Unit-1: Introduction to Communication

Communication concept- Process of Communication- Elements of Communication- Types of Messages- Types of Communication- Speech- Different Types of Verbal Communication-Effective Communication-Interpersonal Communication- Communication as Skilled Behaviour-Social Skills Model- Social Skills Model to Interpersonal Communication-Implications of the Approach-Components of Interpersonal Skills-Characteristics of a Good Conversation-Hints for Inter-Personal Relation-Ship

Unit-2: Effective Communication

Definition of Effective Communication- Common Forms of Communication- The Positive Value of Good Communication- Guidelines for Effective Communication- Review Questions- Three Principles of Communication- Communication Strategies

Block- 2:Situational and Behavioural Communication

Unit-3: Situational Language

Greeting and Introducing- Inviting Someone and Making Requests- Offering Help and Seeking Permission- Asking for Advice and Expressing Gratitude-Asking whether Someone Remembers- Persuading, Complimenting and Congratulating- Expressing Sympathy- Complaining and Apologising- Making Suggestions and Warning Someone- Asking for Excuse and Ending a Conversation- Asking for Information and Someone's Opinion- Asking if someone is sure and to Say Something Again- Checking that you have understood- Asking whether someone knows- Asking About Possibility and Preference- Requesting Someone- Asking if someone Agrees- Asking if someone is Obliged to do something- Some Useful Expressions- Different Models of Situational Conversations

Unit-4: Behavioural Communication

Effective Criticism Made Easy: Basic Rules for Delivering-Negative Feedback to Others- Before Delivering to Negative Feedback- While Delivering Negative Feedback- After Delivering Negative Feedback

Block -3: Types and Modes of Communication

Unit-5: Modes of Communication

Group Discussion- Importance of Group Testing- Factors that Contribute to Group-Worthiness- Guidelines for Group Discussion- Factors that Matter in a Group Discussion- Important Parameters in Group Discussion- Types of Groups- Speech- Speech Distractions- Five ways to make your Audience Sit Up- Successful Public Speaking- Drafting a Speech- Major Pitfalls in Public Speaking-  Body Language- The Constituents of Body Language

Unit-6: Leadership and Team Communication

Definition of a Leadership- Types of Leadership- Shared Leadership- Ten Principles for Leadership Communication- Styles of Leadership- Team Communication- Achieving Effectiveness through Team Communication- The Components of Communication- Characteristics of Highly Cohesive Teams

Block- 4:Interview Skills and English Language

Unit-7: Interview Skills

Interview Defined- Kinds of Interviews- Preparation for a Job Interview- Telephonic Interview- Preparation  for a Telephonic Interview- Speaking to Foreigners- Success in Interview-Ten Most Frequently Asked Questions- Inter Whew- Inter Phew

Unit-8: English as Spoken and Written Language

Simple Sentence- Word Order- Modals- Passive Voice- Letter Writing-An Informal Letter-Formal Letter-Personal Letters- Official Letters- Paragraph Writing- Essay Writing- Types of Essay- Prose Comprehension- Poetry Comprehension- Precise Writing- Dialogues.